6811 Skylar Mill 38018

Roof

Front Tear off

General Spec

Blinds replaced as needed
Clean all vents & returns

Interior Paint & Door Plan

3 color spec (Trim, Walls and Ceiling) -TAN

Replace Interior Doors where needed 1 OR 2 DOORS

Paint garage also

Exterior

Replace rotten wood

Exterior scrape and paint

Pressure wash

Rebuild gate / side fence / fence repair

Landscaping/Arbor

Landscape package 1 (create beds left side of house)

HVAC

New Furnace

AC  - New

Electrical Plan

Test all outlets

GFCI Receptacles in Wet Locations

Plumbing
Hot Water Tank (2022)

Sewer inspected and all ok

Interior Door Plan

New Door Knobs – Brandywine collection

Change door as needed

Kitchen

Paint cabinets

Add knobs to all cabinets

Change countertops

Large window needs replacing-all other windows are ok

Bathrooms

New faucets

New shower head and single lever knob

Replace Tub/surround in both baths

New master bath mirror / Keep mirror in hall bath

Flooring

New flooring in all rooms needed  MATCH TAN WALLS

LPV in all high traffic areas

Carpet in bedrooms

Fixtures

All new light fixtures

New fan in living room

Use master bedroom fan in bed 1
New ceiling fan in master bed

Back light ok

MISC.

Pressure wash garage, front porch and walkway