4493 Westmont

General Spec

Pressure Wash front/back patio/Carport

Address #’s on the mailbox

Spec lights throughout – Fan in Master & Main Living Space

No open spaces at plumbing connections

Blinds

Closet rods, strike plates on doors, all stickers removed from appliances and window

Clean out all trash

Polish hardwood floor

Roofing

New roof

Crawlspace

First 18” of pipe insulated

Vapor barrier install

Crawlspace vents in good shape

Investigate the reason for soft floors in the kitchen. Repair any joist that maybe be damaged.

Interior Paint & Door Plan

3 color spec (Trim, Walls and Ceiling)

Fence/Gate Plan

Add one length of metal fencing.

Exterior

Exterior or Carport Storage Building Plan - if nothing, remove

Spec exterior lights

Mailbox plan – if nothing, remove

Fix framing on 2 back yard windows

Quickcrete for the crack in the driveway

Fix the outside hose bib

Garage/Carport Plan

Replace the metal ceiling where it is cracked.

Landscaping/Arbor

Create and fill flower beds

HVAC

Furnace- 2020

AC- 2020

Electrical Plan

Electrical sub verifies all electrical in working order

Outlets and Switches Swapped out (white)

GFCI Receptacles in Wet Locations

Fix power box and add cover to it.

Plumbing

Test and verify all plumbing works

Hot Water Tank-2023

Make sure bathroom faucet knobs match

Interior Door Plan

Replace knobs with brass nickel knobs

Paint

Flooring Plan

Polish hardwood

LVP Tile in Bathrooms

LVP tile in Kitchen

Kitchen

Paint Cabinets

New ventahood

Make sure no holes/ sink cabinet looks good

Laundry

Make sure laundry hook-up is operational

Hall Bathroom

Reglaze/ Replace Tub

New tub Surround

Install vanity lights

New toilet

New Vanity

New lights

Master Bathroom

Knock out wall and create a shower

New Vanity

New mirror

New Lights

Misc

Exterminate bugs

Patch hole next to HWT