4112 Grey SOW

General Spec

Pressure Wash Exterior

Address on mailbox

Spec lights throughout – Fan Main Living Space & Globe in Bedrooms

No open spaces at plumbing connections

Blinds

Closet rods, strike plates on doors, all stickers removed from appliances and window

Tear off shutters

Crawlspace

First 18” of pipe insulated

Vapor barrier install

Crawlspace vents replaced where needed

Interior Paint & Door Plan

3 color spec (Trim, Walls, and Ceiling)

Inside of chimney painted black/brick painted white– if no chimney, remove

Exterior Paint Plan

Replace siding where needed

Touch-up paint if needed

Exterior

Spec exterior lights

Remove Awnings off windows

Landscaping/Arbor

Leave removal

Add flower beds to the front of the house

HVAC

Install new HVAC system

Electrical Plan

Electrical sub verifies all electrical in working order

Outlets and Switches Swapped out (white)

GFCI Receptacles in Wet Locations

Plumbing

Test and verify all plumbing works

Hot Water Tank Service (2019)

Washing Machine Outlet Box plan – if nothing, remove

Sewer inspected and will be replaced

Interior Door Plan

Brushed nickel door knobs

Flooring Plan

LVP in kitchen

Repolish hardwood floors

Kitchen

New cabinets- 5 Cabinets

Create space and install a dishwasher

Brushed Nickel for hardware

New countertops- 8 feet

Hall Bathroom

Make sure the bathroom exhaust fan working

Clean bathtub and surround.

Recalk where needed

New Mirror in the bathroom