1905 Labette Drive Scope of Work 2025

Roof

Roof in good condition. Estimated on front end of lifespan

Repair vent pipes

General Spec

Smoke detectors

Hauling trash

House cleaning

Interior Paint & Door Plan

Repair walls and ceilings

3 Color spec

Exterior Paint Plan

Pressure wash brick/ Paint wood

Exterior

Repair siding, trim. Fascia and soffit

Repair damaged bricks

Repair corner of the driveway

Landscaping/Arbor

Landscaping and clean yard

HVAC

Furnace- 2000 & 2003 – replace new

AC – 2005 & 2019- replace new

Electrical Plan

Ensure electrical is in good working order and all lights are working

GFCI in all wet locations

Fan replaced in bedroom

Unit B main panel service

Plumbing

Hot Water Tank – 2008 & 2004 -Replace New

Sewer line inspected all ok

Unit A drain repair

Flooring Plan

New LVP throughout

Kitchen

New kitchen sink/Formica tops

Remove tile

Hall Bathroom

Repair toilet valve

New toilets

Keep vanities/new tops

Misc

Dryer vent covers

Add insulation with Energy Rx

Remove doorbell