2813 Dorchester

Roof

GAF Weathered Gray 25 Year Tab Shingle SKU214628

Repair vents and flashing

General Spec

Smoke detectors

Hauling trash

House cleaning

New blinds

Interior Paint & Door Plan

Repair sheetrock

Paint walls, trim and ceilings

New exterior door to the carport

Replace Front Door

Exterior

Repair Soffit

Repair Slab and Footing at right support of carport

Remove cables and TV antennae's

Pressure Washing

Repair Concrete

Landscaping/Arbor

Landscaping and clean yard – cut grass

Trim limbs

HVAC

Furnace - 2020

AC - 2020

Electrical Plan

GFCI in all wet locations

Keep most lighting – some new

Plumbing

Hot Water Tank - 2015

Washer connections repaired

Sewer line to be repaired

Flooring Plan

Install new flooring in the living room & 1 bedroom

Kitchen

Repair leaking faucet

New Stove and vent a hood

Keep Dishwasher

Granite Countertops

Paint cabinets

Hall Bathroom

Tub stopper

Keep Tub/Surround

New mirror