3496 Lynchburg

Roof

GAF Weathered Gray 25 Year Tab Shingle SKU214628

General Spec

Spec lights throughout – Fan in Master & Main Living Space

No open spaces at plumbing connections

Blinds

Closet rods, strike plates on doors, all stickers removed from appliances and window

Interior Paint & Door Plan

3 color spec (Trim, Walls and Ceiling)

Exterior Paint Plan

Paint replaced, siding, soffit, fascia and flatwork

Paint foundation and landings

Exterior

Replace repair rotten facia, soffit, and flatwork

Exterior Door Plan – replace

Spec exterior lights

Landscaping/Arbor

Remove over growth, clean fence line, trim bushes,

Landscape package for beds in front

HVAC

Furnace- New

AC- New

Cage condenser

Electrical Plan

Electrical sub verifies all electrical in working order

Outlets and Switches Swapped out (white)

GFCI Receptacles in Wet Locations

New panel

New meter box

New weather head and service

Plumbing

Test and verify all plumbing works

Shower head new

Kitchen faucet plan – new

Bathroom faucet plan - new

Dishwasher plan- new

Hot Water Heater - New

Washing Machine Outlet Box move and rebuild

Remove and replace all exterior hose bibs.

Sewer inspection & is fine

Interior Door Plan

Door knob plan – all new

6 new doors and hardware

Flooring Plan (Excluding Bathrooms.)

Spec LVP throughout

Kitchen

Cabinet new lowers/New uppers

Cabinet Hardware plan - new

Vent-a-Hood plan - new

Countertop plan - new

Hall Bathroom

Demo existing

New shower and surround

New vanity

New toilet

Primary Bathroom

Demo existing

New shower and surround

New vanity

New toilet

Misc

Very large trash out and demo

Ceiling repair throughout

Anti-microbial treatment

Pest control