35 Southern Oaks

Roof

Roof in good condition. Estimated on front end of lifespan

Interior Paint & Door Plan

3 color spec (Trim, Walls and Ceiling)

Doors are sealed and weather stripping added

Ensure all doors and windows operate correctly

Keep Cedar Room as is (no paint)

Exterior Paint Plan

Touch up color match

Exterior

Replace rotten fascia, soffit,trim and siding as needed

Landscaping/Arbor

Add mulch to existing beds

HVAC

Keep and service - 2019

Electrical Plan

Outside lights to be working properly

Ensure all lights, switches and outlets are working property

Plumbing

Keep Hot water heater - 2017

Flooring Plan

LVT throughout

Kitchen

New faucet

Hall Bathroom

Ensure plumbing is in working order