Scope of Work

640 Leacrest Ave

Memphis, TN 38118

General

- Replace lightbulbs not in functional condition

- Haul away all trash interior and exterior

Safety Items

- Verify fire extinguisher in place

- Verify smoke detectors work (Install new batteries)

- Replace filter 16x25

Paint

- Paint walls, trim, doors, and ceiling to match

Kitchen

- Paint cabinets inside and outside

- Adjust cabinet doors so they shut

- Replace board under sink

- Replace countertops (keep sink and faucet)

- Replace vent hood

- Sub-floor repair

- Trash out stove

- Install transition strips

- Install two blinds

- Install fire extinguisher

Living Room

- Install three blinds

- Install missing outlet covers

- Replace air vent

- Replace light fixture

- Paint closet shelves

- Install missing window panes

- Secure window lock

Hallway

- Replace air vent

- Replace light fixture

- Paint attic door

- Install CO2 detector

Bedroom 1

- Replace door

- Install one blind

- Clean vent

Bedroom 2

- Install door knob

- Replace light fixture

- Install two blinds

Hall Bathroom

- Replace toilet seat

- Patch hole in wall by toilet valve

- Paint vanity

- Paint board under sink

- Patch hole in wall under sink

- Install mirror

- Caulk tub

- Glaze tub

- Install one blind

- Install door stop

- Remove shelf

Bedroom 3

- Tighten door hinges

- Replace one blind

- Replace closet door knob

- Replace light fixture

- Install window lock

Plumbing

- Install overflow cap in tub

Electric

- Outlets out it kitchen

- Loose outlet in living room

- New service into the home / new weatherhead

HVAC

- New AC

Flooring

- Lay rolled vinyl in kitchen and bathroom

- Re-finish hardwood

Exterior

- Trash out

- Trash out shed

- Install crawl space door

- Replace back door light fixture

- Paint front porch

- Replace bent carport post

- Replace mailbox

- Secure carport siding wall and ceiling

- Trash out storage closet

- Secure siding on left side of home

- Secure fascia on front side of home

Landscaping

- Create curb appeal

Please refer to the Excel Sheet for your estimate. It's crucial to promptly sign your Property Management Agreement, Rehab Estimate, and fund your Rent Ready to ensure your property is well-prepared to show potential residents.

For any questions regarding your Rent Ready Scope of Work and/or Estimate, please don't hesitate to reach out to your Asset Manager via phone or email.