108 Seneca

Roof

GAF Weathered Gray 25 Year Tab Shingle SKU214628

Interior Paint & Door Plan

Door knobs

Paint walls, trim and ceilings

New locks and door knobs

Exterior

Seal chimney cracks

Replace garage door

Fix Siding, fascia

Seal bricks

Replace window panes

Add weather stripping

Approximately 30 ft fence repair in back

Foundation repair on back right of house

16x18’ concrete repair

Paint house exterior

HVAC

Furnace- 2020 service

AC- 2020 service

Electrical Plan

GFCI in all wet areas

Add cover plates where necessary

Repair loose receptacles

Ensure all electrical in good working order

Upgrade service panel

Plumbing

Hot Water Tank – 2020

Sewer line to be inspected

Flooring Plan

Spec LVP throughout

Kitchen

Countertop plan – new granite

New electric stove, dishwasher and vent a hood

Misc

Add insulation

Smoke detectors

Trash hauling

House cleaning

New blinds

Primary Bathroom

Install new pan and tile shower, faucet and drain