12 Wakefield

Roof

Approximately 3 years old

Check nails on roof

Check flashing

Interior Paint & Door Plan

Paint 2 bedrooms

Install new door with frame for bedroom  - tighten hinges

Frame out small closet for bedroom

Add baseboard throughout

Smoke detectors working

Carbon monoxide detector working

1 window in each room to open

Exterior

Close in carport and convert to bedroom

Raise flooring

Install new joists

Install new plywood on the floors

Frame out bedroom w/2x4’s

Install new sheetrock throughout ceilings & walls

Add insulation on exterior wall

Install new window

Add siding on exterior - repair fascia and soffit

Repair damaged foundation at the back corner of the house

Demo section of concrete at back of house

Review deck

Adjust strike plates and locks

Check door sills and trim

Remove bars from windows

Yard

Trim tree overhanging on the roof

HVAC

Furnace – 2012 - service

AC – 2016 - service

Electrical Plan

Run electrical for bedroom & outlets

GFCI in all wet locations

Make sure all receptacles are tight

Plumbing

Hot Water Tank  - 2016

Sewer inspected and in good working order

Kitchen

Ensure all burner on stove to work