14 S. Wakefield SOW

Roof

4-7 Years (one layer)

Service and softwash

Interior Paint & Door Plan

3 color new

Exterior Paint Plan

Color match touch up

Exterior

Repair 2 wood sills

Repair fascia, soffit and siding as needed

Add handrail to concrete patio

Landscaping/Arbor

Add Flower bed

Clean yard

HVAC

Condenser 2020

Evap 2019

Furnace 2019

Add ventilation in furnace closet

Electrical Plan

GFCI’s in wet areas

Ensure all receptacles and switches are working

Remove garbage disposal

Plumbing

Hot Water Tank – 2020

Secure vent pipe

Leak repair under toilet

Secure toilet

Repair P trap under bathroom

Flooring Plan

Install grout as needed

Misc

Add vapor barrier

Add Piers and beam if needed, Repair or replace leaning piers

Repair damaged subfloor under bathroom

Ensure interior doors are operating correctly

Smoke/CO detectors installed