2101 Romine Scope of Work 2026

Roof

Roof in good condition. Estimated on front end of lifespan

General Spec

Smoke detectors

Hauling trash

House cleaning

Interior Paint & Door Plan

Ensure all doors latch properly

Install proper garage opener

Exterior Paint Plan

Paint the exterior color match

Exterior

Repair rotten wood on siding and trim

Landscaping/Arbor

Landscaping and clean yard

Interior

Paint interior one coat color match

HVAC

Furnace- 2010 – service

AC – 2010 – service

Electrical Plan

Ensure electrical is in good working order and all lights are working

Add cover plate

Make sure wires are in junction boxes if necessary

GFCI in all wet locations

Plumbing

Hot Water Tank - 2023

Sewer line inspected – repair one area

Repair leak at front hose faucet

Flooring Plan

Keep all existing

Kitchen

Keep as is, repair granite top

Hall Bathroom

Keep as is

Misc

Remove gutter from front

Add door and closet to formal living room to create bedroom

Remove window screens

Add closet door