3308 Holt Scope of Work 2026

Roof

GAF Weathered Gray 25 Year Tab Shingle SKU214628

General Spec

Smoke detectors

Hauling trash

House cleaning

Interior Paint & Door Plan

Repair walls and paint

Paint ceilings

Repair bifold doors

Exterior Paint Plan

Pressure wash

Paint wood columns

Exterior

Repair siding

Add window locks

Remove ramp

Landscaping/Arbor

Add mulch

HVAC

Furnace- 2010 service and repair

AC  2010 service and repair

Electrical Plan

Ensure electrical is in good working order and all lights are working

Repair damaged receptacles

New lights in bedrooms

GFCI in all wet areas

Plumbing

Hot Water Tank – 2012 – will be new

Repair front hose faucet

Sewer line to be inspected once clean out installed

Secure hose faucets

Repair leak at laundry washer connections

Flooring Plan

New flooring common areas – LVT

Carpet in the bedrooms

Kitchen

Ensure all doors and drawers operate

New faucet & sink

Paint & repair cabinets

Repair dishwasher

New stove

Remove disposal

New formica countertops

Hall Bathroom

New toilet

New shower head

Wrap mirror

New vent

Repair door

Misc

Add cleanout

Repair mailbox

Remove window screens