4600 Lynn

Roof

Roof in good condition. Estimated on front end of lifespan

General Spec

Smoke Detectors and Carbon monoxide detectors installed

Interior Paint & Door Plan

3 color spec (Trim, Walls and Ceiling)

Repair damaged walls and ceilings

Exterior Paint Plan

Pressure wash and Paint exterior

Repair damaged wood and siding

Exterior

Fix loose railing

Siding, fascia and soffit repaired

Landscaping/Arbor

Trim limbs off of roof

Trim bushes/shrubs away from the house

HVAC

Furnace- 2024 – service

AC- 2024 - service

Electrical Plan

GFCI installed in all wet areas

Repair/replace switches

Repair/replace receptacles

Upgrade electrical panel

Plumbing

Hot Water Tank - 2021 install pan & repair flue

Sewer line inspected & will be replaced

Flooring Plan

Spec LVP in kitchen

Refinish hardwood

Kitchen

Countertop plan – new granite

Keep cabinets

New vent a hood

Hall Bathroom

New toilet

Tub surround

New tub

New vanity top

Primary Bathroom

New flooring

Misc

Crawl space – add vapor barrier

Add insulation