7 Fairbrook

Roof

GAF Weathered Gray 25 Year Tab Shingle SKU214628

Interior Paint & Door Plan

3 color spec (Trim, Walls and Ceiling)

Doors are sealed and weather stripping added

Exterior

Replace rotten fascia & soffit & trim

Remove gutters

Repair rotten front porch post

Repair windows that are cracked and missing latches

Ensure windows open and close properly

Ensure all windows are sealed properly

HVAC

Furnace- 2014- service - replaced

AC- New

Electrical Plan

Outside lights to be working properly

Ensure all lights working property

Plumbing

Hot Water Tank – 2019

Sewer inspected and in good working order

Flooring Plan

Keep flooring

Kitchen

New range

Hall Bathroom

Repair or replace vent fan

Repair hot water valve

Misc

Install hand rail

Install dryer vent cover