v11

5315 Yale Rd

Roof

Patio flat roof replaced

Layover on house

General
New lighting throughout

New toilet seat

Electrical
Install GFCI’s
Replace switch plates where necessary
Outlets ok

Lighting
Spec lights 
Fan living room x 2 & Master Bedroom 

Interior Paint & Walls

Trim/Walls/Doors/Ceiling 
Non-Paint Paneling

Paint cabinets & vanities 
Peal off wallpaper

Interior of patio repaired

Exterior Paint Plan

Pressure wash
Remove tree branches over home

Garage

Paint

Landscaping

Mulch left side of house / clean leaves

HVAC

Clean/Service Units

Furnace Age:
AC Age:

Plumbing
Check plumbing connections 
New shower heads both bathrooms

Hot Water Tank: 2025

Flooring Plan
Carpet in bedrooms
Vinyl plank throughout – Keep bathroom floors

Kitchen

New vent-a-hood
Replace countertops 
New cooktop

Hall Bathroom

Paint vanity

Re-glaze tub
New vanity

Caulk tubs / toilet base
New Vanity top and sink / reuse faucet
Mirror ok

Master Bath
New bathroom fan
New Mirror

Cancel medicine cabinet

Caulk tub/toilet 
New sink and vanity top / re-use faucet

Back Storage Building
Remove

Back Deck
Deck repaired & painted

Metal Covering Removed

New light was installed