17 Fairmont 2025 Scope of Work

Roof

GAF Weathered Gray 25 Year Tab Shingle SKU214628

General Spec

Blinds

Doorknobs

Smoke detectors

Hauling trash

House cleaning

Interior Paint & Door Plan

3 color spec (Trim, Walls and Ceiling)

Replace 1 door

New closet doors

Repair drywall

Exterior Paint Plan

Ensure foundation is good

Repair siding, soffit, fascia and paint

Exterior

Ensure one window in each room is able to open & lock

Landscaping/Arbor

Landscaping and clean yard

Remove tree in front and cut limbs in back

HVAC

Furnace- New

AC- New

Replace Ductwork

Electrical Plan

Electric panel update

GFCI in all wet locations

Replace fixtures throughout

Plumbing

Hot Water Tank - New

Sewer line inspected and all ok

Ensure no leaks throughout

Flooring Plan

Spec LVP throughout

Install quarter round

Kitchen

Repair subfloor

New granite counters

Paint existing cabinets

New dishwasher

New vent a hood

New faucets

New hardware

New range/oven

Hall Bathroom

Repair Subfloor

Remove gas space heaters

New tub/surround/faucets

Remove existing vanity and replace

Misc

Replace crawl space screens

Repair crawl space door

Vapor Barrier to be corrected

Trash out crawl space

Repair joists per inspection