202 Overland Trail 2025 Scope of Work

Roof

Roof in good condition. Estimated on front end of lifespan

Remove debris from roof

General Spec

Blinds

Doorknobs

Smoke detectors

Hauling trash

House cleaning

Interior Paint & Door Plan

1 Exterior door – garage door

Door trim repair

Repair threshold

Repair door hinges

1 closet door

Paint 1 coat color match

Touch up trim, baseboards & doors

Exterior

Ensure safety of deck

Soffit/fascia repair

Landscaping/Arbor

Landscaping and clean yard

Trim limbs – cut small tree

HVAC

Furnace- 2024

AC- 2024

Electrical Plan

New light fixtures – laundry, kitchen, hall and bath

GFCI in all wet areas

Plumbing

Repair spigot

Ensure plumbing working

Sewer inspected and in good working order

Gas shut off

Hot Water Heater – 2015 – check water heater exhaust vent through roof – will be new

Kitchen

Granite Countertops

New Stove & vent-a-hood

Remove backsplash and paint

Cancel garbage disposal

Hall Bathroom

Granite top

Frame mirror

New acrylic surround

New faucet

New toilet seat

New exhaust

Misc

Insulation added

Concrete slab evaluated