2715 S State Street Scope of Work 2024

Roof

Roof in good condition. Estimated on front end of lifespan

General Spec

New blinds

Doorknobs

Smoke Detectors

Haul trash

House clean

Interior Paint & Door Plan

Remove all ceiling tile from living room, dining room, kitchen area

Install new sheetrock on ceiling, prep, tape and mud and spray texture

Cancel double door on bedroom

Install 32’ door with frame

Add paneling on both sides

Cancel 2nd door on bedroom and add panel on both sides

Repair damaged subfloor in kitchen and laundry area

Exterior Paint Plan

Repair damaged siding/soffit/fascia

Pressure wash

Exterior

Replace any broken glass from windows

Install handrail on front and back of house

Landscaping/Arbor

Landscaping and clean yard

HVAC

Furnace- New downstairs

AC – New downstairs

New duct work as needed

New mini splits upstairs

Electrical Plan

New light fixtures throughout

Plumbing

Hot Water Tank – New

New laundry box

Flooring Plan

Install laminate in living room, kitchen, dining room, 2 bathrooms, hallway, laundry, 3 bedrooms

Kitchen

Keep cabinets

New granite countertops

Make access for dishwasher

Add new hardware

Install upper cabinet for vent a hood

New sink and faucet

New electric range, dishwasher & vent a hood

Hall Bathroom

Install new tub with ceramic tile on walls

New pedestal sink

New mirror

New shower faucet

New toilet

½ Bathroom

Keep vanity with mirror

New toilet