9203 Labette Scope of Work 2025

Roof

Roof in good condition. Estimated on front end of lifespan

General Spec

Blinds

Doorknobs

Smoke detectors

Hauling trash

House cleaning

Interior Paint & Door Plan

3 color spec (Trim, Walls and Ceiling)

Repair front door frame

Repair front right bedroom door

Fix doors at kitchen and carport closets

Install primary closet doors

Exterior Paint Plan

Paint exterior

Pressure wash house

Exterior

Replace rotten wood on siding, trim

Monitor settlement in brick

Seal hole in soffit & all around house

Add wood fence in back yard

Landscaping/Arbor

Landscaping and clean yard – add flower bed

HVAC

Furnace- service existing - 2015

AC- service existing - 2015

Electrical Plan

New electrical panel

GFCI in all wet areas

Plumbing

Sewer been inspected and repairs to be made

Service existing water heater – run out pressure relief valve

Hot Water Heater - 2015

Flooring Plan

Keeping LVP throughout

Kitchen

Keep dishwasher

Remove garbage disposal

Fix floor in kitchen

Hall Bathroom

New toilet

New tub and sink stopper

New shower diverter valve

Misc

Install insulation