3240 N Waynoka Circle SOW

Roof

Repair roof (Roof 2018)

General Spec

Pressure Wash front/back patio

Address #’s on the mailbox

Spec lights throughout – Fan in Master & Main Living Space

No open spaces at plumbing connections

Blinds

Closet rods, strike plates on doors, all stickers removed from appliances and window

Remove Trash

Flooring
New carpet in bedroom

Crawlspace

First 18” of pipe insulated

Vapor barrier install

Crawlspace vents in good shape

Interior Paint & Door Plan

Color Match (Trim, Walls and Ceiling)

Exterior Paint Plan

Paint boards on the side of the house

Exterior

Spec exterior lights

Fix/replace rotten wood

Fix bricks on the left side of driveway

Reattach gutter drain to house

Reglaze windows where needed

Garage/Shed

Clean out

Repaint

Landscaping/Arbor

Cut trees from hanging over the house

Clean up/ restore flower beds

HVAC

Furnace--New

AC- will be new

Electrical

Replace hanging light with spec light

Plumbing

Test and verify all plumbing works

Hot Water Tank- 2014

Make sure bathrooms have sink drains and stoppers

Interior Door Plan

Make sure the door knobs match. (Brass nickel)

New 6-panel doors in the house

Flooring Plan

Place Carpet in Bedrooms

Kitchen

Touch up cabinets and make sure they are working properly

Regrout tile where needed

Hallway

Repair Hallway ceiling

Hall Bathroom

Clean up Bathroom window

Re-caulk bathtub

New Vanity

Back Bathroom

Re-caulk where needed

Misc

Replace missing window pane