7307 Knollwood Scope of Work 2025

Roof

Roof in good condition. Estimated on front end of lifespan

Repair broken tabs on right side edge

General Spec

Smoke detectors

Hauling trash

House cleaning

Interior Paint & Door Plan

Repair front left bedroom door

Repair cracks in ceiling

Repaint interior 1 coat to match existing color

Exterior Paint Plan

Pressure wash/paint siding 1 color with accent color on door and shutters

Exterior

Check crack in foundation wall under front right bedroom

Replace front right window pane and ensure 1 window in each room is able to open & all lock

Add handrail to front porch

Secure corner trim and soffit

Repair fascia

Landscaping/Arbor

Landscaping and clean yard

Trim limbs

HVAC

Furnace- connect vent pipe - 2021

AC - 2021

Replace ductwork

Electrical Plan

Ensure electrical is in good working order and all lights are working – new lighting where needed

GFCI in wet areas

Plumbing

Hot Water Tank - 2020 - secure vent pipe

Repair front hose faucet

Sewer line inspected all ok

Flooring Plan

LVP in hallway

Check around floor furnaces

Kitchen

New vent a hood

Keep stove

Granite countertops

Hall Bathroom

Replace caulking on surround

Misc

Add insulation

Treat for termite activity

Repair/replace crawl space screens

Remove doorbell

Add vapor barrier